6A-2.0010 Educational Facilities.  State Board of Education requirements adopted pursuant to Chapter 120, Florida Statutes, to implement the State Uniform Building Code for Public Educational Facilities Construction in Chapter 1013, Florida Statutes, are contained in Section 423 of the Florida Building Code, which is hereby incorporated by reference and made a part of this rule. All educational and ancillary facilities constructed by a school board or community college board shall comply with the State Requirements for Educational; Facilities (SREF); the Florida Building Code (FBC), including Section 423, FBC; and the Florida Fire Prevention Code (FFPC). The FBC shall supersede any other code adopted by a board, or any other building code or ordinance, for the construction of educational and ancillary facilities and plants whether at the local, county, or state level rule.

(1) In addition to “State Requirements for Educational Facilities, 2006,” all, or the specific portions cited, of the following building codes are hereby incorporated by reference and made a part of this rule. If there should be conflicting requirements between these codes and “State Requirements for Educational Facilities, 2006,” the more or most stringent requirement shall apply.

(a)  AHERA.  Asbestos Hazard Emergency Response Act, 40 CFR, Part 763, as revised July 1, 1995.

(b)  AISC.  American Institute of Steel Construction Allowable Stress Design (Manual of Steel Construction), the edition adopted by the Florida Building Commission.

(c)  ANSI.  American National Standards Institute. References to ANSI standards shall be the edition adopted by the Florida Building Commission.

(d)  ASHRAE.  American Society of Heating, Refrigeration, and Air Conditioning Engineers.

(e)  ASTM.  American Society for Testing Materials. References to ASTM standards shall be the edition adopted by the Florida Building Commission.

(f) DOT – AASHTO, American Association of State Highway and Transportation Officials’ “Load and Resistance Factor Design (LRFD) Specifications,” Third Edition as modified by the Florida Department of Transportation’s “Structures Design Manual,” Jan-Jul, January 2006 Revision (Topic Number 625-020-150-c) as required by the structure type and as incorporated by reference in Chapter 14, FAC.

(g)  FEMA.  Federal Emergency Management Agency. Rules and Regulations 44 CFR, Parts 59 and 60, revised as of October 1, 2002, for flood plain criteria governing insurability of facilities constructed in flood plain.

(h)  Florida Building Code (FBC), the edition adopted by the Florida Building Commission. (Rule 9B-3 FAC.)

(i)  NEC.  National Electrical Code, the edition adopted by the Florida Building Commission (NFPA 70).

(j)  NFPA.  National Fire Protection Association, as adopted by the State Fire Marshal, NFPA 101, and other NFPA codes as applicable. Exceptions are NFPA 101 Sections 14.2.2.5 “Horizontal Exits” and 14.2.2.7 “Exit Passageways” and where NFPA codes are exceeded by these State Requirements.

(k)  OSHA.  Occupational Safety and Health Administration, U.S. Department of Labor, 29 CFR as Revised July 1, 2005.

(l)	State Fire Marshal

1. 	Florida Fire Prevention Code (FFPC), 2004, 4A-60-FAC, with exclusions of NFPA as listed in (j) above.

2.	State Fire Marshal Rule 69A-58, FAC, existing buildings.

(m)  TMS.  The Masonry Society Standards, 2005;, TMS 402-05.

(2) The publication “State Requirements for Educational Facilities, 2006, is downloadable from the internet at: http://www.fldoe.org/edfacil in pdf format. Copies of the codes listed in subsection (1) of this rule are available from the publisher whose location and address are available from the Office of Educational Facilities. These listed codes are readily available to the public upon request at the cost established by the publisher.

Specific Authority Section AXIIS9(a), (d), State Constitution; 215.61(5), 1001.02(1), 1001.42(9), 1001.44, 1004, 1013.02(2), 1013.12, 1013.36, 1013.37, 1013.40(1), 1013.45, 1013.46, 1013.47, Florida Statutes.

Law Implemented Section AXIIS9(a), (d), State Constitution; 50.011, 50.021, 50.031, 50.041, 50.051, 50.061, 50.071, 215.61, 255.0515, 255.20, 267.061, 287.055, 287.0935, 287.133, 440.02, 440.03, 440.10, 440.103, 440.38, 442.004, 442.006, 442.007, 442.0105, 422.019, 422.022, 442.101, 442.109, 442.115, 471.003, 481.229, 489.113(2), 489.125, 553.63, 553.64, 553.71, 553.79, 553.80, 633.025, 1001.02(2)(a), 1001.42(9), 1001.44, 1001.453, 1001.64(36)(37), 1004.28, 1004.70, 1004.92, 1010.01, 10 10.40, 1010.41, 1010.53, 1011.01, 1011.09, 1011.71, 1011.74, 1013.01, 1013.03, 1013.12, 1013.14, 1013.15, 1013.16, 1013.19, 1013.24, 1013.28(1), 1013.31, 1013.33, 1013.36, 1013.37, 1013.40, 1013.45, 1013.46, 1013.47, 1013.48, 1013.51, 1013.52, 1013.60, 1013.61, 1013.64, and 1013.65, Florida Statutes.

History–New 10-30-94, Amended 4-28-97, Formerly 6A-2.0111, Amended 1-5-00, Formerly 6-2.001, Amended 8-22-05 and 7/2/06.